## Slide 1
Aspan Energy
Editable solar PPA proposal
NESKAO
Cote d'Ivoire | Food Processing
Proposal date: 2026-06-20
TODO: Replace with Aspan logo
TODO: Apply Aspan brand colors
TODO: Confirm fonts and icons

## Slide 2
Executive Summary
PV SIZE
772.4 kWp
ANNUAL PRODUCTION
1,046,889 kWh
GRID ANNUAL SAVINGS
XOF 8,351,728
DIESEL ANNUAL SAVINGS
XOF 73,741,669
Aspan Energy proposes a 772.4 kWp solar PPA solution for NESKAO.
Grid Replacement cumulative savings: XOF 390,273,992
Grid + Diesel cumulative savings: XOF 1,561,562,381

## Slide 3
Current Energy Situation
Monthly consumption: 233,633 kWh
Monthly electricity cost: XOF 23,546,304
Grid tariff: XOF 75.078 per kWh
Tariff basis: kwh weighted average across uploaded bills
Diesel generators: Yes
Penalties: XOF 2,860,036
Details to be confirmed by Aspan Energy.

## Slide 4
Proposed Solar Solution
Recommended size: 772.4 kWp
Binding constraint: roof
Estimated annual production: 1,046,889 kWh
Daytime consumption offset cap: 2,102,700 kWh
The recommended system size is 772.4 kWp, with roof as the binding constraint.

## Slide 5
PPA Model Explanation
Under the PPA model, the client pays for solar energy generated by the project instead of funding the full system upfront. Final commercial terms are to be confirmed by Aspan Energy.
No upfront CAPEX, subject to final commercial confirmation.
Client pays for solar energy through a PPA.
Solar reduces daytime grid or diesel reliance.
Contract details must be confirmed by Aspan Energy.

## Slide 6
Economic Analysis: Grid Replacement
Monthly savings year 1: XOF 695,977
Annual savings year 1: XOF 8,351,728
Cumulative savings: XOF 390,273,992
Year 1 solar used: 1,046,889 kWh
Current cost baseline: XOF 75.078 per kWh
PPA tariff: XOF 67.100 per kWh
Details to be confirmed by Aspan Energy.

## Slide 7
Economic Analysis: Grid + Diesel
Monthly savings year 1: XOF 6,145,139
Annual savings year 1: XOF 73,741,669
Cumulative savings: XOF 1,561,562,381
Year 1 solar used: 1,046,889 kWh
Current cost baseline: XOF 137.539 per kWh
PPA tariff: XOF 67.100 per kWh
Scenario assumes a 50% grid and 50% diesel operating baseline for displaced daytime energy.

## Slide 8
Scenario Comparison
Chart: 
| Annual savings | 15-year savings
Grid Replacement | 8351727.9831 | 390273992.3561
Grid + Diesel | 73741669.2207 | 1561562381.4008

## Slide 9
Scope of Aspan Services
Aspan's scope should follow the approved facts pack and be confirmed during commercial review.

## Slide 10
Implementation Process
The next phase should confirm site data, validate assumptions, review commercial terms, and prepare a detailed proposal for approval.

## Slide 11
Next Steps
Confirm assumptions
Validate roof area
Confirm tariff and diesel assumptions
Complete site assessment
Complete commercial review
Proceed to detailed proposal

## Slide 12
Assumptions Appendix
Monthly kWh: 233,633
Daytime fraction: 0.75
Roof area: 5,149 m2
Grid capacity: 1,250 kVA
Recommended kWp: 772.4 kWp
PPA tariff: XOF 67.100 per kWh
Grid tariff: XOF 75.078 per kWh
Tariff basis: kwh weighted average across uploaded bills
Active energy charge: XOF 17,531,792
Penalties: XOF 2,860,036
Diesel price: XOF 700.00 per liter
Diesel kWh per liter: 3.50
Performance ratio: 0.80
Panel degradation rate: 0.005
Tariff escalation rate: 0.03
Analysis horizon: 15 years
Production source: nasa_power_allsky_sfc_sw_dwn
PERIODE DE CONSOMMATION 11/2024: billing period set to 2024-11-01 through 2024-11-30; payment due date 30/12/2024 not used as period end.