## Slide 1
Aspan Energy
Commercial solar PPA analysis
NESKAO
Cote d'Ivoire | Food Processing
Proposal date: 2026-06-20
PV SIZE
772.4 kWp
PPA TARIFF
XOF 67.100
ANALYSIS
15 years
CURRENCY
XOF
Preliminary proposal generated from reviewed documents; final engineering and commercial terms require Aspan confirmation.

## Slide 2
Executive Summary
PV SIZE
772.4 kWp
ANNUAL PRODUCTION
1,046,889 kWh
GRID ANNUAL SAVINGS
XOF 8,351,728
DIESEL ANNUAL SAVINGS
XOF 73,741,669
Aspan Energy proposes a preliminary solar PPA solution for NESKAO, sized against reviewed electricity consumption, roof area, grid connection, and site coordinates. The proposal compares a grid-replacement case with a grid-plus-diesel operating case so the commercial impact is clear under both baselines.
Grid Replacement cumulative savings: XOF 390,273,992
Grid + Diesel cumulative savings: XOF 1,561,562,381
Client activity: Cocoa and food-processing operation with production, packaging, and utility loads.
Industry: Food Processing
Country: Cote d'Ivoire

## Slide 3
Current Energy Situation
Monthly consumption: 233,633 kWh
Monthly electricity cost: XOF 23,546,304
Grid tariff: XOF 75.078 per kWh
Tariff basis: kwh weighted average across uploaded bills
Diesel generators: Yes
Penalties: XOF 2,860,036
The reviewed bills indicate a material industrial electricity load with exposure to both active energy tariff and non-energy charges. The presence of diesel generation makes avoided fuel use a separate value driver. Final commercial use should confirm billing periods, penalties, contracted demand, and any unpaid balances excluded from the monthly cost baseline.

## Slide 4
Proposed Solar Solution
Recommended size: 772.4 kWp
Binding constraint: roof
Estimated annual production: 1,046,889 kWh
Daytime consumption offset cap: 2,102,700 kWh
The proposed PV size is constrained by the most conservative sizing input rather than by a single headline project target. For this run, the binding constraint is roof. Final sizing should be reconfirmed after roof layout, structural access, interconnection, and operating schedule review.

## Slide 5
PPA Model Explanation
Under the PPA model, NESKAO would purchase solar energy generated by the project instead of funding the full system upfront. Final tariff mechanics, term, ownership, performance obligations, and legal structure remain subject to Aspan and client confirmation.
No upfront CAPEX, subject to final commercial confirmation.
Client pays for solar energy through a PPA.
Solar reduces daytime grid or diesel reliance.
Contract details must be confirmed by Aspan Energy.

## Slide 6
Economic Analysis: Grid Replacement
Monthly savings year 1: XOF 695,977
Annual savings year 1: XOF 8,351,728
Cumulative savings: XOF 390,273,992
Year 1 solar used: 1,046,889 kWh
Current cost baseline: XOF 75.078 per kWh
PPA tariff: XOF 67.100 per kWh
This scenario isolates savings where solar replaces grid electricity priced at the reviewed tariff baseline. The cumulative case applies the configured tariff escalation and PV degradation assumptions across the analysis horizon.

## Slide 7
Economic Analysis: Grid + Diesel
Monthly savings year 1: XOF 6,145,139
Annual savings year 1: XOF 73,741,669
Cumulative savings: XOF 1,561,562,381
Year 1 solar used: 1,046,889 kWh
Current cost baseline: XOF 137.539 per kWh
PPA tariff: XOF 67.100 per kWh
Scenario assumes a 50% grid and 50% diesel operating baseline for displaced daytime energy.

## Slide 8
Scenario Comparison
Values shown in XOF; comparison uses year 1 annual savings and 15-year cumulative savings.
Chart: Savings comparison (XOF)
| Annual savings | 15-year savings
Grid Replacement | 8351727.9831 | 390273992.3561
Grid + Diesel | 73741669.2207 | 1561562381.4008
Unit: XOF; values are not kWh and should be read as monetary savings.
Grid + Diesel uses a blended current-cost baseline for displaced daytime energy.

## Slide 9
Market Context & Proposal Basis
Cote d'Ivoire context: ICCO is located in Abidjan, reinforcing the country's role in the cocoa economy.
Food and cocoa processing can include roasting, grinding, pressing, cooling, packaging, and process utility loads.
World Bank Global Solar Atlas is useful for preliminary solar-resource screening; final production remains site-specific.
Client-specific values in this deck come from uploaded bills, site reports, and offer documents rather than public web data.
Source notes: Client documents; ICCO; World Bank Global Solar Atlas.
Client activity: Cocoa and food-processing operation with production, packaging, and utility loads.
Industry: Food Processing
Country: Cote d'Ivoire
Diesel generators: confirmed
Site location: Abidjan / Port-Bouet
Grid connection capacity: 1,250 kVA

## Slide 10
Delivery Plan & Next Steps
Aspan scope
Review customer energy data, monthly bills, tariff structure, diesel assumptions, and site information
coordinate site assessment inputs
refine PV sizing and savings analysis
prepare a detailed commercial proposal for review
Review process
Confirm utility bill and tariff assumptions
validate roof area, layout constraints, and grid connection information
complete technical feasibility and commercial review
prepare detailed proposal and implementation plan
Immediate next steps
Confirm the extracted assumptions
validate roof area and site constraints
confirm tariff, diesel, and PPA tariff inputs
proceed to detailed proposal after Aspan commercial review
Final dates, responsibilities, contract terms, and performance obligations remain subject to Aspan and client confirmation.

## Slide 11
Assumptions Appendix
Monthly kWh: 233,633
Daytime fraction: 0.75
Roof area: 5,149 m2
Grid capacity: 1,250 kVA
Recommended kWp: 772.4 kWp
PPA tariff: XOF 67.100 per kWh
Grid tariff: XOF 75.078 per kWh
Tariff basis: kwh weighted average across uploaded bills
Active energy charge: XOF 17,531,792
Penalties: XOF 2,860,036
Diesel price: XOF 700.00 per liter
Diesel kWh per liter: 3.50
Performance ratio: 0.80
Panel degradation rate: 0.005
Tariff escalation rate: 0.03
Analysis horizon: 15 years
Production source: nasa_power_allsky_sfc_sw_dwn
Reviewed from monthly CIE utility bills; final client-facing use should confirm invoice treatment, penalties, and excluded prior balances.